KILDARE COUNTY COUNCIL

## Guidance Note on Grease Management

# 1. BACKGROUND

“Grease” refers to fats and oils found in wastewater. It is commonly referred to as FOG (Fats, Oils and Greases). It is generated in huge quantities in food businesses and originates from butter, lard, vegetable fats, oils, meats, nuts and cereals.

# 2. WHY IS GREASE SUCH A PROBLEM?

The main reason why grease causes problems is because it doesn’t break down easily and solidifies with lower temperatures. The main problems associated with grease entering the sewerage system are accumulation on pipes and equipment, sewer blockages and an increase in the time and money required to treat the waste at the wastewater treatment plant.

# 3. THE GREASE TRAP OR INTERCEPTOR

Due to the problems, which can be created by grease entering the sewer system all food businesses must install and maintain grease traps to prevent the grease entering the sewer system. These businesses include restaurants, canteens, caterers and other commercial cooking facilities. The main aim of the grease trap is to separate the grease from the rest of the wastewater. The grease then rises to the top of the trap and is stored. The diagram (Fig 1) below shows the layout of a typical grease trap.

Figure 1: a typical grease trap layout

There are generally two types of grease trap acceptable, these are:

- 1. Traps located in an establishment near the fixture it serves.

- 2. Large traps located outside the building in the ground that serve the entire kitchen.

4. WHAT FIXTURES REQUIRE A GREASE TRAP?

- 1. Pot sinks

- 2. Rinse sinks

- 3. Any sinks, fixtures or drains through which a significant amount of oil, fat or grease may be introduced.

- 4. Soup kettles or similar devices

- 5. Dishwashers

# 5. GREASE TRAP DESIGN

The rate of flow of the trap shall be calculated in accordance with the most recent edition

of  BS8301.

Grease traps should also comply with I.S. EN1825-2: 2002 in relation to selection of nominal sizes, installation, operation and maintenance of grease traps.

# 6. GREASE TRAP INSTALLATION

Unless installed correctly your grease trap may not work effectively. The main point to remember is “install the grease trap as close as possible to the source of the grease laden water”. The main reason for this is to avoid blockages in long pipes but also because the grease separates more easily when hot.

Consider the following points:

- 1. Select a suitable location. The location should be such that the wastes entering the trap should have cooled to 45º before entering the trap. The recommended distance from the source to the grease trap should be 4 meters minimum.

- 2. The grease trap must be upstream of foul waste entering the system.

- 3. The hole for the grease trap should have an extra 200mm space on all sides.

- 4. The base should be constructed of 20N concrete and be 200mm in depth.

- 5. Ensure correct alignment of the grease trap with the inlet and outlet pipes.

- 6. Fill the grease trap with water and backfill areas around the grease trap with concrete or gravel.

- 7. The top slab should be such as to withstand any loads applied to it.

# 7. MAINTAINING YOUR GREASE TRAP

It is vital that your grease trap is cleaned on a regular basis to ensure it stays in good working order and also to prevent odours. In general grease traps should be cleaned when 25% of the liquid level or the trap is grease or oil. It is important that grease is removed from the top of the chamber but also from the bottom where solids may have settled. Frequency of cleaning will depend on the nature of the activity producing the grease i.e. a trap used to receive grease from a utensil washing process will need much less cleaning than one used to receive grease from a full service restaurant.

Generally the following applies:

- • Clean under sink units every 2-3 days

- • In ground interceptors must be cleaned every 30 days.

There are independent contractors available who specialise in grease trap cleaning, these will clean the trap and then take away the grease for appropriate treatment. We recommend that you engage the services of a specialist-cleaning contractor, with a waste collection permit, who agrees to a contract of cleaning. If you perform the cleaning yourself then you must ensure correct and proper disposal of the waste oils, fats and greases.

# 8. MANAGING YOUR GREASE

The first step in any management plan is prevention.

Prevention of grease:

- • Control the grease at its source, minimise, reduce or eliminate sources of grease if you can.

- • Change the nature of processes i.e. use a process which results in the production of smaller quantities of fats, oils and greases.

- • If food grinders are installed then remove them as they contribute to the formation of large quantities of grease.

Managing your grease waste, consider the following:

1. Recycle your used oils and grease with the following companies. This list is not meant to be all-inclusive, but it lists only firms that have come to the attention of Kildare County Council. The Council makes no recommendations whatsoever regarding private firms performing fats, oils, and grease (F.O.G.) recycling.

• Frylite (Dublin) Ltd Unit J1 Ballymount Industrial Estate Ballymount Drive Dublin 1 Telephone: 01 4569511

Email: info@frylite.com

• Sita Environmental, Unit 402, Greenogue Business Park Rathcoole Co Dublin

Telephone: (1850) 203030

• Atlas Oil Laboratories Limited Clonminam Industrial Estate, Portlaoise, Co. Laois. Telephone: 057 8678600

Fax: 057 8678699

- Bolton RVO Ltd., Bellevue, Grangeford, Castledermot, Co. Kildare

Telephone: 059 9144849

2. Post no grease signs. These will remind staff not to pour grease down the drains. Adding hot water, detergent or even commercial degreasers does not liquefy the grease long enough to escape your drains.

3. Use your bin to dispose of food scraps instead of putting them down the drain. This reduces the amount of grease that will be present in the grease trap.

4. Develop a grease trap maintenance programme.

• Develop an inventory of all grease traps and ensure that fixtures have the proper size and type of traps.

  - • Establish a cleaning schedule if you clean the trap yourself. This should include details of who cleans, when it needs to be cleaned and when it was cleaned last. If you have a specialist-cleaning contractor then you should obtain formal certification from the specialist to certify that cleaning was carried out.

  - • Inspect your grease traps on a regular basis to check the grease level, their condition and any other observations. These inspections should be recorded.

  - • Train all staff on grease management and trap cleaning.

  - Never add bleach, enzymes or emulsifiers or any other chemical agent to the grease trap in an attempt to digest the grease.